# PLC and Raspberry Pi are very compatible.(How to communicate)
- Python
- RaspberryPi
- IoT
- PLC
- Sequencer
Last updated at 2019-12-23Posted at 2018-09-13
# what is plc?
Qiita is a software technology site for programs, mainly servers, PCs, and smartphones
, so I think that there are many people who are not familiar with it, but there are many people who are not familiar with it.
It is a computing unit that specializes in the availability of maintenance parts, such as noise immunity, stability, and manufacturer
's parts.
To put it very roughly, it is enough to think of it as strengthening the capacity, speed, and I/O-related of Arduino.
It is also called a sequencer, etc. (trademark of Mitsubishi FA) It is used for device control of the factory.
If you've ever heard of a ladder diagram, that's it.
※Here I am writing an article based on Mitsubishi PLC.
# why use raspberry pi?
Since PLC was originally a machine tool or was used on the premise of standalone based on factory lines, it has become
very popular in recent network-related products.It is weak to be.
Recently, it is possible to communicate with the terminal of the LAN
, but it is communicating with a dedicated software as a standard.
(And the price is reasonable.)）
But in the coming era, it will only be inconvenient if you do not connect to the internet, including IoT
, so let's have Razpai bridge.
# Good reasons for compatibility
- Power is nearby
- Communication is also OK with 1 LAN cable
- there's also a case for installing it inside the device.
- Simple I/O is also included, so simple ON/OFF can be detected
- He is good at calculation processing that PLC is not good at.
- The power consumption is much less than that of a PC.
Above all, isn't it cheap, if there are 1 million in comics, you can IoT of the machine?
It is easier to maintain using your language on Raspberry Pi than to buy hundreds of thousands of software and install the PC of the server role
.
# what can you do?
Simply put, you can read and write data inside the PLC.
In other words, if you want to do it, you can hijack it.
- Emergency shutdown from outside
- Current sensor reading
- Maintenance flagging and erasing
# how do you do it?
This article is the way to wait.
It uses the MC protocol provided by Mitsubishi's PLC.
Mitsubishi distributes technical books for free, and
specifically, requests can be sent through socket communication, and data can be obtained by responding.
In other words, any language is OK as long as socket communication is possible.
Example of instruction statement
Command_Ex.txt
送信文：：500000FF03FF000018002004010000D*0002110001
受信文：：D00000FF03FF00000800000001
# Example - The simplest way to communicate in Python
PLC.py

import socket

host = "192.168.1.1" # <- PLCに割り振り or 設定したIP
port = 5015 # <- 同じくPLCに設定したポート(後述)

client = socket.socket(socket.AF_INET, socket.SOCK_STREAM)
client.connect((host, port))

client.send("500000FF03FF000018002004010000D*0002110001") # 送信文
response = client.recv(1024) # バッファはこんなにいらないけど、一応。
# ↑これが"D00000FF03FF00000800000001"となる。

Only this.
In the case of writing to the PLC, the reply statement is either a normal end or an error message.
# Explanation of command statement
The content being transmitted depends on the connection configuration of the PLC, but
here it is attached to 1 device and talks as 1 PLC.
*For more than one unit, please refer to the Mitsubishi reference as a hint here
### Send statement
5000 00 FF 03FF 00 0018 0020 0401 0000 D*000211 0001
In order from the beginning.
- 5000 :
  Is the frame determined by the model of the sub-header PLC?
  By 5000, the communication in the "3E frame" is specified.
  The 5400 is "4E frame" By the way, the 4E
  frame can add a serial to the data statement itself, and you can
  know who the response is.
- 00 : Network number
  If you are using a PLC as a relay between networks, you can specify up to 01h-EFh.
  "00" if on the same network
- FF : PC number
  If there are more than one PLC in the same network, specify 01h-EFh.
  If only 1 FFh
- 03FF : Request unit I/O number
  Specified for multi・drop, multi・CPU, and dual system,
  "03FF" for 1 unit
- 00 : Request destination unit station number
  Same as above, specified in the case of multi・drop, multi・CPU, dual system, if
  1 unit "00"
#### Command from here
- 0018 : Transmission data length
  The number of bytes following from here, fill in 16 digits
  From the next 0020 to the last 0001 24 characters => 0018h.
- 0020 : Response wait time
  Timeout specification of processing time, 16 decimal specification 1 unit 250 milliseconds
  Here, wait until 32 units, 0.8 seconds.
- 0401 : Word-by-word (bulk) read
  -out.It is finally the appearance of reading and writing instructions.
  In this case, the address is read out by word, by range, and by batch.
  1 point reading is also possible, so easy to use.
  If it is 1 point, it is possible with 0403, or rather, the right way.
- 0000 : When the sub-command of the above read command is
  almost not used, but "I want to set the bit" or "I want to reset the bit", etc
  . This is 0001.
- D*000211 : Data addressing
  PLC has a device (data register) for each number, such as D211 in word units
  , and specifies this, and other "MYou can specify a device familiar to PLC developers, such as ",X,Y,B,W"
  Here you specify D211, I want to see the contents of this.
  Note: ZR devices only omit *, like ZR000001.
- 0001 : Number of continuous data specified
  Since this command is a batch read, the number of data (number of devices = number of words)
  is specified, here 1
  hereWhen set to 0003, D211, D212, and D213 data are returned.
  If it is 000A, it is from D211 to D220.
In other words, if you fiddle with the number of the transmission data length and the command after 0401
, the data you want will come down.
### Received statement
D000 00 FF 03FF 00 0008 0000 0001
If it is a normal reply, it will be like this.
D000 00 FF 03FF 00 0008：各種情報
D000: Reply fixed sentence
00: Network number
FF: PC number
03FF: Request destination unit I/O
00: Request destination unit station number
0008: Number of character bytes after
It is data that I do not use much.
The number of bytes may be used, but
if you know the amount returned, you will use it to validate.
- 0000 : Exit code
  0000 is a normal exit code, so check only here
- 0001 : Data (16 decimal)
  This is the main data, boiled or baked, but first 10 decimal conversion?
# PLC Configuration
This is how you configure your IP, port, and so on.
Described in GX-Woks2.
Select PC Parameters
Various settings!
Empty column, here from the [TCP]
pull-down to the 3rd stage [MC protocol]
own station port number is your favorite port number.
With this, communication can be done by socket communication (MC protocol) when it is written to the PLC.
Again, let's check the IP and port on the program side.
# so, what are you going to do?
From here it is the real power of Net + PC software.
Data is collected in units of 0.5 seconds and recorded in an in・house DB, records
of production results, and monitors vibration sensors and temperature and pressure.I
have come to cure you."
In addition, if allowed, it is possible to throw it to AWS, GCP to remote monitoring and operation.
(In my field, I use it in a data monitoring device in Firebase.
(At the time of maintenance, the log is also acquired.)）
It is still a part of the introduction,
but when searching for SH-080003 on the Mitsubishi FA site,
"Q-compatible serial communication unit usersSince there is a "manual", you can
drop it for free, and the command list is on page 63 of the PDF (page 61 in the book).
Others are also written in more detail here, so please take a look at it once.